[image: image1.png]3.

‘Troubleshooting

Please refer to the following table.

A further reason for a high background and/or too weak color develop-
ment may be the quality of the microplates. Possibly change the lot or the

supplier.
Possibl R roen
Noortooweak  Capture antibodyis not = Use a fresh (not yet thawed) aliquot of Capture
color develop-  active (eg., due to repeated  antibody.
ment. thawing and freezing). « Increase the concentration of the Capture anti-
body or of the Conjugate solution, respectively
(see "Sensitivity").
Standard graph is too shal- Use a fresh (not yet thawed) aliquot (standard).
low.
Values of an antibody sam- + The antibody has been treated with denaturing
ple to be measured is obvi-  agents (see "stressed" antibodies). Also com-
ously too low mercially available antibodies may have been
produced under denaturing conditions.
Conjugate solution or Con-  + Prepare fresh Conjugate solution or Conjugate
jugate dilution is inacti- dilution.
vated by incorrect storage  + Store at +2 to +8°C, do not freeze.
or storage for too long peri- * Increase the concentration of the Capture anti-
ods. body or of the Conjugate solution, respectively
(see “Sensitivity”).
Substrate solution has been + Prepare fresh Substrate solution.
incorrectly stored oristoo  * Store in dark at +2 to +8°C.
old.
High background Substrate solution is too old « Prepare fresh Substrate solution.

(color changes from light

* E 405 nm/1 cm should be <0.16.

green to dark green).
Inadequate blocking. Extend Blocking step to 30 min.
The monaclonal antibodies Replace Blocking reagent by:

(eg, anti- collagen) bind to
the peptides in the Blocking
reagent.

Tris-HCI, 50 mM; NaCl, 150 mM; pH 75; bovine
serum albumin, 19 (w/v)




北京梅科万德生物科技有限公司

http://www.makewonderbio.com

小鼠IgG ELISA检测试剂盒
产品编号：8304

包被抗小鼠IgG Fc抗体的酶标板中加入腹水或杂交瘤培养上清，腹水或培养上清中的小鼠IgG与酶标板中的抗体结合，洗板洗去未结合的部分，再加入HRP标记的抗小鼠IgG抗体，洗去未结合的部分，加底物TMB显色，TMB的颜色与小鼠IgG的浓度成正比，通过标准品的检测结果绘制标准曲线，计算未知标本的浓度。

杂交瘤在选择培养后大约10-14天，通过细胞传代换液HT培养基，使氨基蝶呤不断被稀释，通过2-3周过渡到普通培养基培养。
本产品用于检测小鼠腹水或杂交瘤培养上清中IgG的浓度

试剂组分

1. 抗小鼠IgG（Fc）包被板

2. 小鼠IgG标准品

3. HRP标记抗鼠IgG（抗小鼠κ-POD, 抗小鼠λ-POD）

4. 洗涤液（20x）

5. TMB显色液

6. 终止液

规格

100ml/瓶
运输、储存和有效期

冷藏运输，-20°C储存，避光，在有效期内使用。 正常储存条件下自生产之日起有效期2年。

使用方法

标准曲线 

1000ng/ml, 200ng/ml, 100ng/ml, 50ng/ml, 25ng/ml, 12.5ng/ml, 6.25ng/ml

稀释培养上清（大约1:100～1:1000）和腹水（1:10,000～1:100,000），使其小鼠IgG的水平落在25 - 80 ng/ml

The mouse-IgG ELISA shows no cross-reactivity with other Ig-classes from mouse or bovine-IgG (
0.1 %). Signals of all IgG-subclasses from mouse (IgG1, IgG2a, IgG2b and IgG3) can be detected independently of the type of light chains (
 or 
). In contrast, other Ig-subclasses (IgM, IgA, etc.) will not be detected with this assay

In the procedure described the assay shows a detection limit of approx. 10 ng IgG/ml.

[image: image2.png]7V \

makewonderbio

AL 1 A YR




地址：北京市昌平区阳坊镇极东未来产业园新业一楼三层3096号

